## CI
CI | balance controll stregy. How to provent over heat? | 300mA at 4V
| balance controllable by stack controller? | how to balance if between module
what is link bus?
if we change temperature sensor. Nuvation have to modify firmware? Or custmer can config
where CI get power from ? What is the rating?
CI work mode and power consumtion?
link out current get from outside or generate by CI
| maxium CI number in series | 1250V 16cell max16 CI
firmware update?
| what data logged in NVM, and how to read it out? | NO not in CI, in SC?
thermistor to detect balance resister temperature?
SC | how to identify stack controller when they are in same bus
all decision on PI operation made by SC?
what data logged in NVM and how to read it out?
can nuvation open CAN interface ? Let ELV controller comm with SC
error code and definition table?
PI | shunt spec, | 50mv at rated current
| only can power by DC? Voltage range? | AC or DC
contactor weld detection
fuse blow detection
leakage detection
GC | ho GC interface with inverters? Custmize or inverter have to follow MESA?
can you provide SCADA simulator software
GC monitor and logger
remote access software provided by Nuvation
only support 24 stacks, how about other 6 stacks. Is possible only use 1 GC whole system?